## Slide 1: Industrial Controls data
Inputs and outputs

## Slide 2: I/o types
Digital
Analog
Specialty

## Slide 3: Digital iNputs
Applications:
Contact Status
Pulse Counting (Metering)
Digital Status Communication
Considerations:
High/Low-Speed
Voltage Rating
Current Rating
Input Wetting
Digital OUTputs
Applications:
Direct Switching Control
Interaction with ‘dumb’ Systems
Digital Status Communication
Considerations:
High/Low-Speed
Voltage Rating
Current Rating
Wetted Outputs
Default State

## Slide 4: Analog iNputs
Applications:
Analog Metering
Environment Sensing
Control Input
Considerations:
Sampling Rate
Voltage Rating
Current Rating
Input Wetting
Sensor Type (V/I)
analog OUTputs
Applications:
Setpoint Control
Environment Control
Considerations:
Update/Control Rate
Voltage Rating
Current Rating
Output Type (V/I)

## Slide 5: Specialty iNputs - RTD

## Slide 6: Specialty iNputs - Thermocouple